## Slide 1: VECTOR CONTROL OF DFIG SEMINAR PRESENTATION SARDAR PATEL COLLEGE OF ENGINEERING u
By,
Ninad Kiran Gaikwad
ME-Electrical
Roll No. 06

## Slide 2: QUICK FACTS ABOUT WIND ENERGY GENERATION
Wind power capacity of the world 336 GW
Wind power capacity of India 21136.3 MW
(1.6%)
Wind power capacity of Maharashtra 4167.26 MW

## Slide 3: Different Types Of Wind Generation Systems
Fixed Speed Wind Turbine (FSWT) with induction generator
Variable Speed Wind Turbine (VSWT) with variable rotor resistance

## Slide 4
VSWT with Doubly-Fed Induction Generator (DFIG)
VSWT with Full-Power Converter (FPC)

## Slide 5: Principle of Operation of DFIG

## Slide 6: Power Flow in DFIG
Sub-Synchronous Operation
Super-Synchronous Operation

## Slide 7: DFIG Electrical and Mechanical Structure

## Slide 8: DFIG System in Simulink

## Slide 9: Concept of Vector Control
The main objective is to emulate the drive system of a separately excited DC Machine, which has a natural decoupled control for field and torque currents

## Slide 10: GSC Vector Control
Functions of the GSC:
To maintain the DC link voltage constant
To allow bi-directional power flow
To maintain unity PF
dq-Transformation:
d-axis aligned with supply side voltage space vector
Result of Transformation:
d-axis I controls the dc-link voltage
q-axis I controls the reactive power from grid

## Slide 11
GSC Current Control Loop
GSC Voltage Control Loop

## Slide 12: Complete Vector Control Scheme for GSC

## Slide 13: Vector Control Scheme of GSC in Simulink

## Slide 14: RSC Vector Control
Functions of the RSC:
To control torque or speed
To allow bi-directional power flow
To control rotor excitation current so as to give DFIG reactive power capability
dq-Transformation:
d-axis aligned with stator -flux space vector
Result of Transformation:
d-axis I controls the rotor excitation hence the reactive power
q-axis I controls the speed or torque, hence conrolling the real power

## Slide 15
RSC Current Control Loop
RSC Outer Speed Control Loop

## Slide 16: Complete Vector Control Scheme for RSC

## Slide 17: Complete Vector Control Scheme of RSC in Simulink

## Slide 18: Advantages of DFIG
Variable speed operation, approx +/- 30% about the synchronous speed, hence maximum power tracking from the turbine system is possible.
With combined control of the GSC and RSC the DFIG does not act as reactive power load, but can even supply reactive power to the grid in times of fault conditions.
The RSC provides for a complete control over the real power output of the DFIG.
Moreover, the converter being in the rotor circuit has to be designed to handle about one-third of the rated power

## Slide 19: Thank You